NOTE: All personnel performing this task must sign off on the Standard Work Instruction.  By signing this document, the signee acknowledges they understand the work instruction and safety procedures and agree to follow all the steps, required and conditions listed on the form.

NOTE: Should any previously unidentified work hazard arise during the course of work, all work must stop and the Instruction amended (including initialing by all personnel), or a new instruction must be created and signed.

| Fulfillment Center: |  | Date of Work to be Performed: |  |  | Regulatory Compliance Window: |  |  |  | NEW/REVISED: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DSM5 |  | TODAY |  |  | Per PM Compliance Window |  |  |  | NEW REVISED |
| Work Order/TT Number: |  |  |  |  |  |  |  |  |  |
| WORK ACTIVITY (Description): |  |  |  |  |  |  |  |  |  |
| SLAM CLEANING |  |  |  |  |  |  |  |  |  |
| BBM TEAM Leading Maint. Activity: |  |  | POSITION/TITLE: |  |  | Notified (Name): |  | POSITION/TITLE: |  |
| BRYABURG |  |  | CSL |  |  | SJJPARGO |  | Maintenance Manager |  |
|  |  |  |  |  |  |  |  | Safety Manager |  |
|  |  |  |  |  |  |  |  | Loss Prevention Manager |  |
|  |  |  |  |  |  |  |  | Sr. Ops Manager |  |
| Reflective Vest Hard Hat Personal Fall Arrest equip Safety Glasses Bump Cap |  |  |  | Goggles Face Shield Hearing Protection Safety Shoes—Type: Composite |  | Air purifying respirator Supplied respirator PPE Clothing—Type: Arc Flash Clothing (NFPA70E) | Gloves—Type: Gloves—Specify: Other—Specify: Other—Specify: Other—Specify: |  |  |
| REMINDER: Use the Hierarchy of Control (elimination, substitution, isolation, reduction, engineering controls, administration controls) to determine appropriate actions to eliminate/mitigate hazards |  |  |  |  |  |  |  |  |  |
| JOB STEPS: List all job steps in sequence of performance |  |  |  | POTENTIAL HAZARDS: Specify what the potentials hazards are associated with each job step |  | CRITICAL ACTIONS TO MITIGATE HAZARDS: What specific actions need to be taken to eliminate or mitigate potential hazards |  |  |  |
| Preparation: - Review "Electrical Safe Work Practices Requirements" documentation and "Amazon Electrical Work Policy" - (https://inside.amazon.com/en/MyWorkplace/InsideNAFCSafety/Pages/NAFCSafetyPolicies.aspx) - Follow Standard Work Instruction – Distribution panel breaker trip - Always follow OSHA, LOTO, FTHA, NFPA, and Amazon Policies before placing hands on equipment. - Adhere to all safety guidelines when using lifts and ladders if required. - Communicate to Operations & RME MM of pending work. - If operations are impacted, open SEV1 or SEV2 Trouble Ticket |  |  |  |  |  |  |  |  |  |
| CLEANING PRINTER |  |  |  | PINCH POINTS |  | WHAT WHERE YOU’RE HANDS ARE |  |  |  |

NOTE: What can go wrong?  How can someone get hurt?  Potential Hazards:  Impact, Penetration, Compression or Rollover, Chemical, Heat, Inhalation, Light/radiation, Electrical Control Hazard, Noise, Potential Fall, Asphyxiation